## Data center measure menu
There are numerous ways your utility customers can save energy in their data centers. But it's hard for them to know which energy- or demand-saving measures are right for their facility. Industry jargon; secrecy in order to maintain competitive advantage; split incentives between IT and facilities folks; and closed-door policies prevent data center customers from reaching out to their utility for upgrade advice. This measure menu will help you talk to your customers about which measures are appropriate for them, when they should implement them, and how they should go about it.
Go back to Reaching Customers Who Operate Small or Embedded Data Centers
Measure category | Specific measures | Level of effort | Measure description | Measure savings | Measure cost | Non-energy benefits | Leading vendors | Target customers
Power management | Personal computer (PC) power management | Low | IT administrator centrally manages power settings on employees' PCs, ensuring they're never left on when not in use. | About 10 percent of building energy use; approximately 100 watts per PC | $5 per PC | Extended computer equipment life | PowerSave, Faronics, Verismic | Business customers having both personal computers and centralized IT administration
| Server power management | Medium | Server power dynamically managed, either to limit total server peak demand or to distribute load and limit the number of servers idling or computing far below capacity. Can be implemented as a stand-alone measure or in conjunction with server virtualization (see "Server consolidation.") | Requires custom calculations | $200–$400 per server | Extended computer equipment life | Raritan, SuperMicro, Sentry | Business customers operating servers in-house
| Data center infrastructure management | High | At the facilities level, tracking and minimizing power utilization effectiveness or data center infrastructure management to improve efficiencies and lower operating costs. | Requires custom calculations | Zero or negative cost | Extended computer equipment life | Raritan, Sunbird, Schneider Electric | Business customers operating midsize data centers on-site
Server consolidation | Server virtualization | Low | Use virtualization software and specialized server-management techniques to run multiple servers virtually on a single machine. | Requires custom calculations | Negative capital costs, up to $700 per server | Reduced capital requirements | Microsoft, VMWare, RackSpace | Small business customers operating multiple servers below rated computing capacities
| Server room aggregation | Medium | Closing smaller, less-optimized server rooms or closets and moving their computing requirements and/or physical servers to a centrally managed data center. | Requires custom calculations | Highly variable | Improved security; frees up building space | NA | Business customers operating a campus or office park where multiple server rooms are scattered throughout
| Cloud service migration | High | Migrating on-site server computing functionality over to cloud-based (i.e., off-site) services. | Requires custom calculations | $50–$500 per server per month | Improved security, reliability, and accessibility; frees up building space | Azure, Rackspace, Amazon | Business customers operating multiple in-house servers without legitimate business rational to manage them on-site
Power supply upgrades | Right-sized power supplies | Low | Addressing overprovisioning problems for power supplies. In many cases, power supplies are rated for much higher power draw than what is actually observed in operation. This measure involves specifying smaller power supplies that operate more efficiently. | About 4 percent of server energy use; approximately 16-plus watts per server | Zero or negative cost | Lower capital costs | Intel, HP, Dell | Business customers operating in-house servers
| Direct-current (DC) power supplies | Medium | Supplying servers with either high- or low-voltage DC, thereby reducing power-conversion losses at the computing equipment. | Requires custom calculations | Zero or negative cost | Frees up space in the data center; uses less materials (e.g., copper) | Validus DC Systems, IBM, HP | Business customers operating midsize data centers
| Next-generation rotary uninterruptible power supply (UPS) | High | The most common UPS technology used in data centers is static and typically utilizes battery energy storage. A rotary UPS, by contrast, uses an engine or motor generator to deliver uninterrupted power. While older rotary UPS technologies tended to be less efficient than static systems, new rotary systems are more efficient and functional. | Requires custom calculations | Highly variable | Can provide reliable backup for both alternating-current (AC) and DC loads | e1 Dynamics, Hitachi | Business customers operating midsize or large data centers
Temperature and air management | Warmer temperature setpoints | Low | Raising the upper limit on allowable temperatures within the data center to reduce cooling requirements and the associated load. | Requires custom calculations | Zero or negative cost | Extended HVAC equipment life | NA (operational) | Business customers operating in-house servers
| Fluid dynamics airflow modeling | Medium | Evaluating airflow movements throughout the data center, identifying "dead zones" where air flow stagnates, and preventing unwanted mixing that leads to ineffective cooling and associated energy waste. | Requires custom calculations | Highly variable | Improved working conditions for employees | NA (operational) | Business customers operating midsize to large data centers
| Hot-aisle/cold-aisle segregation | High | Isolating rear-rack (hot) and front-rack (cold) aisles to prevent mixing and to improve the efficiency and effectiveness of cooling and ventilation systems. | Requires custom calculations | Highly variable | Extended computer equipment life | NA (operational) | Business customers operating midsize to large data centers
Free cooling utilization | Air-side economizers | Low | Bringing in outside air to cool the data center when outdoor air temperatures are sufficiently low. | Requires custom calculations | Highly variable | Improved working conditions for employees | NA (operational) | Business customers operating midsize to large data centers
| Water-side economizers | Medium | Utilizing water (instead of air) as a working fluid to economize (i.e., making use of low outdoor air temperatures to cool the interior of the data center). | Requires custom calculations | Highly variable | More-effective cooling | NA (operational) | Business customers operating midsize to large data centers
| Modular data centers | High | "Containerized" data centers, where servers and auxiliary computing equipment and power electronics are placed within shipping containers and cooled with outside air. | Requires custom calculations | Highly variable | Modular, scalable, and mobile data center | Google, IBM, HP | Business customers operating midsize to large data centers
Note: NA = not applicable. | [7 empty] | © E Source
BIZ-1700007-004 || July 2017
Menu of upgrade project options for small or embedded data centers
By Luke Currin, Bryan Jungers